{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":15,"n_cols":5,"rows_kept":15,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","DCM010A51"]
[]
[]
[]
[]
["","","","","DCM010A51."]
["Μονάδα που μπορεί να συνδεθεί","","","","Εσωτερική, εξωτερική, υδρο-κιβώτιο, τύποι εξαρισμού σημείων διαχείρισης iTM"]
["Είσοδος","PC","Λογισμικό","","Microsoft Windows 7, 8, 8.1, 10, Microsoft Server 2012 και 2016"]
["Μέγιστος αριθμός εσωτερικών μονάδων που μπορούν να συνδεθούν","","","","2,500 (2)"]
["Μέγιστος αριθμός εξωτερικών μονάδων που μπορούν να συνδεθούν","","","","400 (3)"]
["Σημειώσεις","","","","(1) - Συμβατές εκδόσεις Oracle PMS: Opera v5.0.03.03 e43, v5.0.04.01 e24, v5.0.04.02 e17, v5.0.04.02 e17, v5.0.04.03 e10, v5.0.05.00 και μεταγενέστερες"]
["","","","","(2) - 5 x 500 εσωτερικές μονάδες ανά χειριστήριο iTM"]
["","","","","(3) - 5 x 80 εξωτερικές μονάδες ανά χειριστήριο iTM"]
["","","","","(4) - Δωρεάν λήψη λογισμικού, κλειδί ενεργοποίησης σε φυσική μορφή (χαρτί)"]
["","","","","(5) - Απαιτείται 1 άδεια DCM010A51 και DCM007A51 ανά χειριστήριο iTM"]